By:  Sims	S.B. No. 977

A BILL TO BE ENTITLED

AN ACT

relating to the beneficial land application of biosolids.

BE IT ENACTED BY THE LEGISLATURE OF THE STATE OF TEXAS:

SECTION 1.  Sections 361.003(37) and 361.003(38), Health and Safety Code is amended to read as follows:

(37)  This subdivision expires on delegation of the Resource Conservation and Recovery Act authority to the Railroad Commission of Texas.  Subject to the limitations of 42 U.S.C. Section 6903(27) and 40 C.F.R. Section 261.4(a), "solid waste" means garbage, rubbish, refuse, sludge from a waste treatment plant, water supply treatment plant, or air pollution control facility, and other discarded material, including solid, liquid, semisolid, or contained gaseous material resulting from industrial, municipal, commercial, mining, and agricultural operations and from community and institutional activities.  The term:

(A)  does not include:

(i)  solid or dissolved material in domestic sewage, or solid or dissolved material in irrigation return flows, or industrial discharges subject to regulation by permit issued under Chapter 26, Water Code;

(ii)  soil, dirt, rock, sand, and other man-made inert solid materials used to fill land if the object of the fill is to make the land suitable for the construction of surface improvements; or

(iii)  waste materials that result from activities associated with the exploration, development, or production of oil or gas or geothermal resources and other substance or material regulated by the Railroad Commission of Texas under Section 91.101, Natural Resources Code, unless the waste, substance, or material results from activities associated with gasoline plants, natural gas or natural gas liquids processing plants, pressure maintenance plants, or repressurizing plants and is hazardous waste as defined by the administrator of the United States Environmental Protection Agency under the federal Solid Waste Disposal Act, as amended by the Resource Conservation and Recovery Act, as amended (42 U.S.C. Section 6901 et seq.); or

(iv)  sewage sludge which has been processed or treated to meet the definition of exceptional quality biosolids as defined by Section 374.009(l); and

(B)  does not include hazardous substances, for the purposes of Sections 361.271 through 361.277, 261.280, and 361.343 through 361.345.

(38)  This subdivision is effective on delegation of the Resource Conservation and Recovery Act authority to the Railroad Commission of Texas.  Subject to the limitations of 42 U.S.C. Section 6903(27) and 40 C.F.R. Section 261.4(a), "solid waste" means garbage, rubbish, refuse, sludge from a waste treatment plant, water supply treatment plant, or air pollution control facility, and other discarded material, including solid, liquid, semisolid, or contained gaseous material resulting from industrial, municipal, commercial, mining, and agricultural operations and from community and institutional activities.  The term:

(A)  does not include:

(i)  solid or dissolved material in domestic sewage, or solid or dissolved material in irrigation return flows, or industrial discharges subject to regulation by permit issued under Chapter 26, Water Code;

(ii)  soil, dirt, rock, sand, and other man-made inert solid materials used to fill land if the object of the fill is to make the land suitable for the construction of surface improvements; [or]

(iii)  waste materials that result from activities associated with the exploration, development, or production of oil or gas or geothermal resources and other substance or material regulated by the Railroad Commission of Texas under Section 91.101, Natural Resources Code; or

(iv)  sewage sludge which has been processed or treated to meet the definition of exceptional quality biosolids as defined by Section 374.009(l); and

(B)  does not include hazardous substances, for the purposes of Sections 361.271 through 361.277, 261.280, and 361.343 through 361.345.

SECTION 2.  Sections 361.022(c) and 361.022(d), Health and Safety Code, are amended to read as follows:

(c)  For municipal sludge, the following methods are preferred, in the order listed:

(1)  source reduction and minimization of [sludge production and] heavy metals and other toxins in sludge;

(2)  treatment of sludge to reduce pathogens and generate useable biosolids as defined in Section 374.009(c), Health & Safety Code to [and] recover energy, produce beneficial by-products, [or reduce the quantity of sludge; (3) marketing and distribution of sludge and sludge products if the marketing and distribution do not threaten public health, safety, or the environment; (4)] or apply[ing] the biosolids [sludge] to land for beneficial use;

(3) [(5)]  land treatment; or

(4) [(6)]  landfilling and non-beneficial incineration.

(d)  In adopting rules to implement public policy concerning municipal solid waste management, the commission [board of health] shall consider the preference of municipal solid waste management methods under this section.

SECTION 3.  Health and Safety Code is amended by adding a new Chapter 374 to read as follows:

CHAPTER 374.  BENEFICIAL LAND APPLICATION OF BIOSOLIDS.

SUBCHAPTER A--GENERAL PROVISIONS

Sec. 374.001.  Purpose and applicability.  (a)  Purpose.  This chapter establishes standards, which consist of general requirements, pollutant limits, management practices, and operational standards, for the final use or disposal through beneficial land application of sewage sludge generated during the treatment of domestic sewage in a treatment works.  Standards are included in this chapter only for biosolids applied to the land, which sludge has been treated to biosolids quality.  Also included in this chapter are pathogen and alternative vector attraction reduction requirements for biosolids applied to the land at or below an agronomic rate.

In addition, the standards in this chapter include the frequency of monitoring and recordkeeping requirements when biosolids are applied to the land.

(b)  Applicability.  (1)  This chapter applies to any person who prepares sewage sludge, or applies biosolids to the land.

(2)  This chapter applies to biosolids applied to the land.

(3)  This chapter applies to land where biosolids are applied.

Sec. 374.002.  Permits.  Except as expressly provided by this chapter, the only permits required for biosolids regulated by this chapter are those:  (1) issued to a "treatment works treating domestic sewage", as defined in 40 CFR 122.2, in accordance with 40 CFR Parts 122 and 124 by EPA or (2) issued under Subtitle C of the Solid Waste Disposal Act; Part C of the Safe Drinking Water Act; the Marine Protection, Research, and Sanctuaries Act of 1972; or the Clean Air Act.  "Treatment works treating domestic sewage" shall submit a permit application to the EPA in accordance with 40 CFR 122.21.

Sec. 374.003.  Registrations and Direct Enforceability.  Except as provided by this section, persons desiring to beneficially apply biosolids to land shall apply to the commission for a registration.  No registration shall be required for marketing, distribution or land application of exceptional quality biosolids as defined in Section 374.009 which meets the requirements of pathogen reduction in Section 374.032(a).

(1)  An application form shall only request such information as may be required for an applicant to provide information to the commission to show that the applicant will comply with this chapter and to allow the commission to reasonably enforce this chapter.

(2)  The commission shall review an application to determine if it is administratively complete within 10 days from the date the commission receives the application.  The commission may not revoke a finding of administrative completeness.

(3)  If the commission determines an application is not administratively complete, the commission shall mail the applicant a notice of deficiency which sets forth any deficiency in the application.  An applicant shall have 30 days from the date the commission mails the notice of deficiency in which to respond to the commission, and the commission must send any additional notices of deficiency within 10 days from the date the commission receives a response to a prior deficiency.  The commission may only have one notice of deficiency pending per application site at any one time, and any supplemental notices of deficiency may only address applicant's response to the previous notice of deficiency.

(4)  At the time an application for a new beneficial land application project becomes administratively complete, the commission shall mail a copy of the application to the county judge of the county in which the project is proposed to be located, and shall mail written notice of the application to all persons shown in the current records of the appraisal district as of the date of administrative completeness to be the owners of the property immediately adjacent to the property proposed to be registered.  That notice shall read as follows:  "[Commission to insert name of applicant] has filed an application with the Texas Natural Resource Conservation Commission (Commission) to apply treated biosolids to the property owned by [name of owner] located at [commission to insert address or other description sufficient to describe the location of the application site].  The proper beneficial application of biosolids treated in accordance with state and federal regulations has proven to be an effective and safe method of providing for soil conditioning and fertilization.  The Commission will review the application to determine whether the applicant and the site can meet the requirements of Chapter 374 of the Health and Safety Code.  As part of this review, the Commission will hold a public meeting with interested parties, including the applicant, if you request the meeting.  If you desire a public meeting, please write your request to [commission to insert name, title, and address of contact person] on or before [commission to insert 10 days from date notice is mailed] and identify the request as being for a public meeting regarding the beneficial land application of [commission to insert applicant's name].  Should you desire to review the application, a copy of the application is located at your county judge's office, and also at our offices in Austin.  If you should have any questions or concerns, please contact [commission to insert name, title, address and telephone of commission contact person]."  The notice shall also include literature from the commission which sets forth the benefits of beneficial land application and informs the public that beneficial land application projects which comply with the provisions of this chapter are safe.  The public meeting shall be held no less than twenty days and no more than sixty days from the date the application becomes administratively complete, and shall be held in the county in which the site will be located; if the site is in more than one county, the meeting shall be held in the county in which the majority of the application site is located.

(5)  The commission shall grant a registration application within 75 days from the date the application is administratively complete if the applicant is in compliance with this chapter.

(6)  All notices from the commission, except to county judges and adjacent and nearby property owners, must be sent by certified mail, return receipt requested.

(7)  Site registration information on file with the commission shall be confirmed or updated, in writing, whenever:

(i)  the mailing address and/or telephone number of the owner or operator is changed;

(ii)  requested by the executive director; or

(iii)  the source of the biosolids is modified.

(8)  Registrations shall be automatically renewed every five years from the date the initial registration is granted as long as the registrant remains in compliance with this Chapter.

(9)  Registrations may be transferred upon joint request to the Commission by the owner and operator with written approval from the executive director.

(c)  Except as provided by Section 374.005, the commission shall not adopt or impose any rule, procedure, form, policy or guideline, whether written or unwritten, which has the effect of imposing a more stringent requirement for the beneficial land application of biosolids than set forth in this chapter.  The commission may adopt procedural rules and forms to implement this chapter.  Any agency rules which exceed the agency's express authority and limitations under this chapter or against the intent of this chapter shall not be valid or enforceable unless this chapter is prompted by federal requirements.  This subsection shall not be interpreted to prohibit the commission from enforcing the provisions of this chapter, imposing fees as set forth in section 361.013 of the Health and Safety Code, or in regulating other aspects of sewage sludge or biosolids such as transportation, surface disposal, or incineration.

(d)  Direct enforceability.  No person shall use or dispose of sewage sludge or biosolids through any practice for which requirements are established in this chapter except in accordance with such requirements.

Sec. 374.004.  Relationship to other regulations.  Disposal of sewage sludge in a municipal waste landfill unit, as defined in 40 CFR 258.2, that complies with the requirements in 40 CFR part 258 constitutes compliance with Section 405(d) of the CWA.  Any person who prepares sewage sludge that is disposed in a municipal solids waste landfill unit shall ensure that the sewage sludge or water treatment sludge meets the requirements in 40 CFR Part 258 concerning the quality of materials disposed of in a municipal solid waste landfill.

Sec. 374.005.  Additional or more stringent requirements.  On a case-by-case basis, the commission may impose requirements for the use or disposal of biosolids in addition to or more stringent than the requirements in this chapter when necessary to protect public health and the environment from any documented, demonstrable adverse effect of a pollutant in the biosolids.

Sec. 374.006.  Exclusions.  (a)  Treatment processes.  This chapter does not establish requirements for processes used to treat domestic sewage or for processes used to treat sewage sludge prior to final use or disposal, except as provided in Section 374.032 and Section 374.033.

(b)  Selection of a use or disposal practice.  This chapter does not require the selection of a sewage sludge use or disposal practice.  The determination of the manner in which sewage sludge is used or disposed is a local determination.

(c)  Sludge generated at an industrial facility.  This chapter does not establish requirements for the use or disposal of sludge generated at an industrial facility during the treatment of industrial wastewater, including sewage sludge generated during the treatment of industrial wastewater combined with domestic sewage.

(d)  Hazardous sewage sludge.  This chapter does not establish requirements for the use or disposal of sewage sludge determined to be hazardous in accordance with 40 CFR Part 261 or Section 361.003(14), Health and Safety Code.

(e)  Sewage sludge with high PCB concentration.  This chapter does not establish requirements for the use or disposal of sewage sludge with a concentration of polychlorinated biphenyls (PCBs) equal to or greater than 50 milligrams per kilogram of total solids (dry weight basis).

(f)  Incinerator ash.  This chapter does not establish requirements for the use or disposal of ash generated during the firing of sewage sludge in a sewage sludge incinerator.

(g)  Grit and screenings.  This chapter does not establish requirements for the use or disposal of grit (e.g., sand, gravel, cinders, or other materials with a high specific gravity) or screenings (e.g., relatively large materials such as rags) generated during preliminary treatment of domestic sewage in a treatment works.

(h)  Drinking water treatment sludge.  This chapter does not establish requirements for the use or disposal of sludge generated during the treatment of either surface water or ground water used for drinking water.

(i)  Commercial and industrial septage.  This chapter does not establish requirements for the use or disposal of commercial septage, industrial septage, a mixture of domestic septage and commercial septage, or a mixture of domestic septage and industrial septage.

(j)  Experimental use shall be excluded from the requirements of this chapter, provided the following conditions are met at the time the biosolids are placed on a beneficial use site or reclamation site.

(1)  The metal ceilings established in Section 374.013 (Table 3) of this title (relating to Metal Limits) shall be met;

(2)  One of the vector attraction reduction alternatives in Section 374.033(b)(1) - (11) of this title shall be met;

(3)  The pathogen reduction compliance requirements established in Section 374.032(a) or (b) shall be met;

(4)  The applicant shall receive written approval from the executive director prior to commencement of operations for the experimental project; and

(5)  The applicant shall submit to the executive director the aims and goals of the project and any other additional information the executive director believes necessary to establish the experimental nature of the project.

Sec. 374.007.  Requirement for a person who prepares sewage sludge.  Any person who prepares sewage sludge shall ensure that the applicable requirements in this chapter are met when the biosolids are applied to the land.

Sec. 374.008.  Sampling and analysis.  (a)  Sampling and Analysis.  Representative samples of biosolids that are applied to the land shall be collected and analyzed.

(b)  Methods.  The materials listed below are incorporated by reference in this chapter.  The materials are incorporated as they exist on the date of approval, and the commission shall maintain copies of these materials available for public inspection.  The commission shall publish any updates to these materials in the Texas Register.  Methods in the materials listed below shall be used to analyze samples of sewage sludge and calculation procedures in the materials shall be used to calculate the percent volatile solids reduction for sewage sludge.

(1)  Enteric viruses - ASTM Designation:  D 4994-89, "Standard Practice for Recovery of Viruses from Wastewater Sludges," Annual Book of ASTM Standards:  Section 11 - Water and Environmental Technology, ASTM, Philadelphia, PA., 1992.

(2)  Fecal coliform - Part 9221 E. or Part 9222 D., "Standard Methods for the Examination of Water and Wastewater," 18th Edition, American Public Health Association, Washington, D.C., 1992.

(3)  Helminth ova - Yanko, W.A., "Occurrence of Pathogens in Distribution and Marketing Municipal Sludges," EPA 600/1-87-014, 1987.  PB 88-154273/AS, National Technical Information Service, Springfield, Virginia.

(4)  Inorganic pollutants - "Test Methods for Evaluating Solid Waste, Physical/Chemical Methods," EPA Publication SW-846, Second Edition (1982) with Updates I and II and Third Edition (1986) with Revision I.  Second Edition - PB87-120-291, National Technical Information Service, Springfield, Virginia.  Third Edition - Document number 955-001-00000-1, Superintendent of Documents, Government Printing Office, Washington, D.C.

(5)  Salmonella sp. bacteria - Part 9260 D., "Standard Methods for the Examination of Water and Wastewater," 18th Edition, American Public Health Association, Washington, D.C., 1992; or Kenner, B. A. and H. P. Clark, "Detection and enumeration of Salmonella and Pseudomonas aeruginosa," J. Water Pollution Control Federation, 46(9):2163-2171, 1974.

(6)  Specific oxygen uptake rate - Part 2710 B., "Standard Methods for the Examination of Water and Wastewater," 18th Edition, American Public Health Association, Washington, D.C., 1992.

(7)  Total, fixed, and volatile solids - Part 2540 G., "Standard Methods for the Examination of Water and Wastewater," 18th Edition, American Public Health Association, Washington, D.C., 1992.

(8)  Percent volatile solids reduction calculation - "Environmental Regulations and Technology - Control of Pathogens and Vectors in Sewage Sludge," EPA-625/R-92/013, U.S. Environmental Protection Agency, Cincinnati, Ohio, 1992.

(c)  Soil samples.  At the time the applicant applies to the commission for a new or renewal registration, the applicant shall provide the commission with soil samples to determine the background levels of the pollutants set forth in Section 374.013 in the top six inches of the soil as provided by this section.  In the event of a registration renewal, an applicant shall be required to provide the commission with test results only on registered areas which have been applied with biosolids during the previous five years.

(1)  The applicant shall provide to the commission the test results of one composite soil sample (based on ten random soil samples) per land management unit, provided that at least one random soil sample is provided for each 1,000 acres of the proposed registration site.

(2)  If no soil survey map exists for the proposed registration site, the applicant may either:

(i)  contract with the United States Department of Agriculture, Natural Resources Conservation Service to prepare soil survey maps for the area and provide to the commission the test results as set forth in Subsection (c)(1); or

(ii)  provide one composite soil test for every 80 acres of the proposed registration site.

Sec. 374.009.  GENERAL DEFINITIONS.  (a)  "Apply biosolids or biosolids applied to the land" means land application of biosolids.

(b)  "Base flood" is a flood that has a one percent chance of occurring in any given year (i.e., a flood with a magnitude equalled once in 100 years).

(c)  "Biosolids" means sewage sludge that has been treated to a Class A or Class B pathogen reduction standard, that at least meets the pollutant concentrations set forth in Table 1 of Section 374.013, and meets one of the vector attraction reduction methods in Sections 374.033(b)(1) through Section 374.033(b)(10).

(d)  "Class I sludge management facility" is any publicly owned treatment works (POTW), as defined in 40 CFR 501.2, required to have an approved pretreatment program under 40 CFR 403.8(a) and any treatment works treating domestic sewage, as defined in 40 CFR 122.2, classified as a Class I sludge management facility by the EPA Regional Administrator, or, in the case of National Pollutant Discharge Elimination System delegation, the U.S. Environmental Protection Agency Regional Administrator in conjunction with the executive director, because of the potential for its sewage sludge use or disposal practice to affect public health and the environment adversely.

(e)  "Commission" means the Texas Natural Resource Conservation Commission.

(f)  "Cover crop" is a small grain crop, such as oats, wheat, or barley, not grown for harvest.

(g)  "CWA" means the Clean Water Act (formerly referred to as either the Federal Water Pollution Act or the Federal Water Pollution Control Act Amendments of 1972), Pub. L. 92-500, as amended by Pub. L. 95-217, Pub. L. 95-576, Pub. L. 96-483, Pub. L. 97-117, and Pub. L. 100-4.

(h)  "Domestic septage" is either liquid or solid material removed from a septic tank, cesspool, portable toilet, Type III marine sanitation device, or similar treatment works that receives only domestic sewage.  Domestic septage does not include liquid or solid material removed from a septic tank, cesspool, or similar treatment works that receives either commercial wastewater or industrial wastewater and does not include grease removed from a grease trap at a restaurant.

(i)  "Domestic sewage" is waste and wastewater from humans or household operations that is discharged to or otherwise enters a treatment works.

(j)  "Dry weight basis" means calculated on the basis of having been dried at 105 degrees Celsius until reaching a constant mass (i.e., essentially 100 percent solids content).

(k)  "EPA" means the United States Environmental Protection Agency.

(l)  "Exceptional quality biosolids" means biosolids which have been treated to meet the pathogen reduction requirements of Section 374.032(a), the pollutant concentrations of Section 374.013(b)(3), and one of the vector attraction reduction methods of Section 374.033(b)(1) through Section 374.033(b)(8).

(m)  "Executive director" means the executive director of the Texas Natural Resource Conservation Commission.

(n)  "Feed crops" are crops produced primarily for consumption by animals.

(o)  "Fiber crops" are crops such as flax and cotton.

(p)  "Food crops" are crops consumed by humans.  These include, but are not limited to, fruits, vegetables, and tobacco.

(q)  "Ground water" is water below the land surface in the saturated zone.

(r)  "Industrial wastewater" is wastewater generated in a commercial or industrial process.

(s)  "Land management unit" means a tract of land on which similar management practices are being used.

(t)  "Municipality" means a city, town, borough, county, parish, district, association, or other public body (including an intermunicipal agency of two or more of the foregoing entities) created by or under state law; an Indian tribe or an authorized Indian tribal organization having jurisdiction over sewage sludge management; or a designated and approved management agency under Section 208 of the CWA, as amended.  The definition includes a special district created under state law, such as a water district, sewer district, sanitary district, utility district, drainage district, or similar entity, or an integrated waste management facility as defined in Section 201(e) of the CWA, as amended, that has as one of its principal responsibilities the treatment, transport, use, or disposal of sewage sludge.

(u)  "Permitting authority" is either EPA or a state with an EPA-approved sludge management program.

(v)  "Person" is an individual, association, partnership, corporation, municipality, state or federal agency, or an agent or employee thereof.

(w)  "Person who prepares sewage sludge" is either the person who generates sewage sludge during the treatment of domestic sewage in a treatment works or the person who derives a material from sewage sludge.

(x)  "Place sewage sludge or sewage sludge placed" means disposal of sewage sludge on a surface disposal site.

(y)  "Pollutant" is an organic substance, an inorganic substance, a combination of organic and inorganic substances, or a pathogenic organism that, after discharge and upon exposure, ingestion, inhalation, or assimilation into an organism either directly from the environment or indirectly by ingestion through the food chain, could, on the basis of information available to the executive director, cause death, disease, behavioral abnormalities, cancer, genetic mutations, physiological malfunctions (including malfunction in reproduction), or physical deformations in either organisms or offspring of the organisms.

(z)  "Pollutant limit" is a numerical value that describes the amount of a pollutant allowed per unit amount of sewage sludge (e.g., milligrams per kilogram of total solids); the amount of a pollutant that can be applied to a unit area of land (e.g., kilograms per hectare); or the volume of a material that can be applied to a unit area of land (e.g., gallons per acre).

(aa)  "Runoff" is rainwater, leachate, or other liquid that drains overland on any part of a land surface and runs off of the land surface.

(bb)  "Sewage sludge" is solid, semi-solid, or liquid residue generated during the treatment of domestic sewage in a treatment works.  Sewage sludge includes, but is not limited to, biosolids, domestic septage; scum or solids removed in primary, secondary, or advanced wastewater treatment processes; and a material derived from sewage sludge.  Sewage sludge does not include ash generated during the firing of sewage sludge in a sewage sludge incinerator or grit and screenings generated during preliminary treatment of domestic sewage in a treatment works.

(cc)  "Soil survey map" means a map showing soils delineations by the United States Department of Agriculture, Natural Resources Conservation Service, as part of the National Cooperative Soil Survey.

(dd)  "State" means the State of Texas.

(ee)  "Store or storage of sewage sludge" is the placement of sewage sludge on land on which the sewage sludge remains for two years or less.  This does not include the placement of sewage sludge on land for treatment.

(ff)  "Treat or treatment of sewage sludge" is the preparation of sewage sludge for final use or disposal.  This includes, but is not limited to, thickening, stabilization, and dewatering of sewage sludge.  This does not include storage of sewage sludge.

(dd)  "Treatment works" is either a Federally owned, publicly owned, or privately owned device or system used to treat (including recycle and reclaim) either domestic sewage or a combination of domestic sewage and industrial waste of a liquid nature.

(ee)  "Wetlands" means those areas that are inundated or saturated by surface water or ground water at a frequency and duration to support, and that under normal circumstances do support, a prevalence of vegetation typically adapted for life in saturated soil conditions.  Wetlands generally include swamps, marshes, bogs, and similar areas.

SUBCHAPTER B--LAND APPLICATION

Sec. 374.010.  Applicability.  (a)  This subchapter applies to any person who prepares sewage sludge that is applied to the land, to any person who applies biosolids to the land, to biosolids applied to the land, and to the land on which biosolids are applied.

(b)(1)  The general requirements in Section 374.012 and the management practices in Section 374.014 do not apply when bulk biosolids are applied to the land if the bulk biosolids are exceptional quality biosolids.

(2)  The executive director may apply any or all of the general requirements in Section 374.012 and the management practices in Section 374.014 to the bulk biosolids in Section 374.010(b)(1) on a case-by-case basis after determining that the general requirements or management practices are needed to protect public health and the environment from any reasonably anticipated adverse effect that may occur from any pollutant in the bulk biosolids.

(c)(1)  The general requirements in Section 374.012 and the management practices in Section 374.014 do not apply when a bulk material derived from sewage sludge is applied to the land if the derived bulk material meets the pollutant concentrations in Section 374.013(b)(3), the Class A pathogen requirements in Section 374.032(a), and one of the vector attraction reduction requirements in Section 374.033(b)(1) through Section 374.033(b)(8).

(2)  The executive director may apply any or all of the general requirements in Section 374.012 or the management practices in Section 374.014 to the bulk material in Section 374.010(c)(1) on a case-by-case basis after determining that the general requirements or management practices are needed to protect public health and the environment from any reasonably anticipated adverse effect that may occur from any pollutant in the bulk biosolids.

(d)  The requirements in this subchapter do not apply when a bulk material derived from sewage sludge is applied to the land if the biosolids from which the bulk material is derived meets the pollutant concentrations in Section 374.013(b)(3), the Class A pathogen requirements in Section 374.032(a), and one of the vector attraction reduction requirements in Section 374.033(b)(1) through Section 374.033(b)(8).

(e)  The general requirements in Section 374.012 and the management practices in Section 374.014 do not apply when biosolids are sold or given away in a bag or other container for application to the land if the biosolids sold or given away in a bag or other container for application to the land meet the pollutant concentrations in Section 374.013(b)(3), the Class A pathogen requirements in Section 374.032(a), and one of the vector attraction reduction requirements in Section 374.033(b)(1) through Section 374.033(b)(8).

(f)  The general requirements in Section 374.012 and the management practices in Section 374.014 do not apply when a material derived from sewage sludge is sold or given away in a bag or other container for application to the land if the derived material meets the pollutant concentrations in Section 374.013(b)(3), the Class A pathogen requirements in Section 374.032(a), and one of the vector attraction reduction requirements in Section 374.033(b)(1) through Section 374.033(b)(8).

(g)  The requirements in this subchapter do not apply when a material derived from sewage sludge is sold or given away in a bag or other container for application to the land if the sewage sludge from which the material is derived meets the pollutant concentrations in Section 374.013(b)(3), the Class A pathogen requirements in Section 374.032(a), and one of the vector attraction reduction requirements in Section 374.033(b)(1) through Section 374.033(b)(8).

Sec. 374.011.  Special definitions.  (a)  "Agricultural land" is land on which a food crop, a feed crop, or a fiber crop is grown.  This includes range land and land used as pasture.

(b)  "Agronomic rate" is the whole biosolids application rate (dry weight basis) designed:  (1) to provide the amount of nitrogen needed by the food crop, feed crop, fiber crop, cover crop, or vegetation grown on the land and (2) to minimize the amount of nitrogen in the biosolids that pass below the root zone of the crop or vegetation grown on the land to the ground water.

(c)  "Annual pollutant loading rate" is the maximum amount of a pollutant that can be applied to a unit area of land during a 365 day period.

(d)  "Annual whole biosolids application rate" is the maximum amount of biosolids (dry weight basis) that can be applied to a unit area of land during a 365 day period.

(e)  "Bulk biosolids" is biosolids that are not sold or given away in a bag or other container for application to the land.

(f)  "Cumulative pollutant loading rate" is the maximum amount of an inorganic pollutant that can be applied to an area of land.

(g)  "Forest" is a tract of land thick with trees and underbrush.

(h)  "Land application" is the spraying or spreading of biosolids onto the land surface; the injection of biosolids below the land surface; or the incorporation of biosolids into the soil so that the biosolids can either condition the soil or fertilize crops or vegetation grown in the soil.

(i)  "Monthly average" is the arithmetic mean of all measurements taken during the month.

(j)  "Other container" is either an open or closed receptacle.  This includes, but is not limited to, a bucket, a box, a carton, and a vehicle or trailer with a load capacity of one metric ton or less.

(k)  "Pasture" is land on which animals feed directly on feed crops such as legumes, grasses, grain stubble, or stover.

(l)  "Public contact site" is land with a high potential for contact by the public.  This includes, but is not limited to, public parks, ball fields, cemeteries, plant nurseries, turf farms, and golf courses.

(m)  "Range land" is open land with indigenous vegetation.

(n)  "Reclamation site" is drastically disturbed land that is reclaimed using sewage sludge.  This includes, but is not limited to, strip mines and construction sites.

Sec. 374.012.  General requirements.  (a)  No person shall apply biosolids to the land except in accordance with the requirements in this subchapter.

(b)  No person shall apply bulk biosolids subject to the cumulative pollutant loading rates in Section 374.013(b)(2) to agricultural land, forest, a public contact site, or a reclamation site if any of the cumulative pollutant loading rates in Section 374.013(b)(2) has been reached.

(c)  No person shall apply domestic septage to agricultural land, forest, or a reclamation site during a 365 day period if the annual application rate in Section 374.013(c) has been reached during that period.

(d)  The person who prepares bulk biosolids that is applied to agricultural land, forest, a public contact site, or a reclamation site shall provide the person who applies the bulk biosolids written notification of the concentration of total nitrogen (as N on a dry weight basis) in the bulk biosolids.

(e)(1)  The person who applies biosolids to the land shall obtain information needed to comply with the requirements in this subchapter.

(2)(i)  Before bulk biosolids subject to the cumulative pollutant loading rates in Section 374.013(b)(2) are applied to the land, the person who proposes to apply the bulk biosolids shall contact the commission to determine whether bulk biosolids subject to the cumulative pollutant loading rates in Section 374.013(b)(2) has been applied to the site since August 19, 1993.

(ii)  If bulk biosolids subject to the cumulative pollutant loading rates in Section 374.013(b)(2) has not been applied to the site since August 19, 1993, the cumulative amount for each pollutant listed in Table 2 of Section 374.013 may be applied to the site in accordance with Section 374.013(a)(2)(i).

(iii)  If bulk biosolids subject to the cumulative pollutant loading rates in Section 374.013(b)(2) has been applied to the site since August 19, 1993, and the cumulative amount of each pollutant applied to the site in the bulk biosolids since that date is known, the cumulative amount of each pollutant applied to the site shall be used to determine the additional amount of each pollutant that can be applied to the site in accordance with Section 374.013(a)(2)(i).

(iv)  If bulk biosolids subject to the cumulative pollutant loading rates in Section 374.013(b)(2) have been applied to the site since August 19, 1993, and the cumulative amount of each pollutant applied to the site in the bulk biosolids since that date is not known, an additional amount of each pollutant shall not be applied to the site in accordance with Section 374.013(a)(2)(i).

(f)  When a person who prepares bulk biosolids provides the bulk biosolids to a person who applies the bulk biosolids to the land, the person who prepares the bulk biosolids shall provide the person who applies the biosolids notice and necessary information to comply with the requirements in this subchapter.

(g)  When a person who prepares biosolids provides the biosolids to another person who prepares the biosolids, the person who provides the biosolids shall provide the person who receives the biosolids notice and necessary information to comply with the requirements in this subchapter.

(h)  The person who applies bulk biosolids to the land shall provide the owner or lease holder of the land on which the bulk biosolids is applied notice and necessary information to comply with the requirements in this subchapter.

(i)  Any person who prepares bulk biosolids that is applied to land in a State other than Texas shall provide written notice, prior to the initial application of bulk biosolids to the land application site by the applier, to the permitting authority for the State in which the bulk biosolids is proposed to be applied.  The notice shall include:

(1)  The location, by either street address or latitude and longitude, of each land application site.

(2)  The approximate time period bulk biosolids will be applied to the site.

(3)  The name, address, telephone number, and National Pollutant Discharge Elimination System permit number or water quality permit number (if appropriate) for the person who prepares the bulk biosolids.

(4)  The name, address, telephone number, and National Pollutant Discharge Elimination System permit number or water quality permit number (if appropriate) for the person who will apply the bulk biosolids.

(j)  Any person who applies bulk biosolids subject to the cumulative pollutant loading rates in Section 374.013(b)(2) to the land shall provide written notice, prior to the initial application of bulk biosolids to a land application site by the applier, to the commission and the commission shall retain and provide access to the notice.  The notice shall include:

(1)  The location, by either street address or latitude and longitude, of the land application site.

(2)  The name, address, telephone number, and National Pollutant Discharge Elimination System permit number or water quality permit number (if appropriate) of the person who will apply the bulk biosolids.

Sec. 374.013.  Pollutant limits.

(a)  Biosolids

(1)  Bulk biosolids or biosolids sold or given away in a bag or other container shall not be applied to the land if the concentration of any pollutant in the biosolids exceeds the ceiling concentration for the pollutant in Table 1 of Section 374.013.

(2)  If bulk biosolids are applied to agricultural land, forest, a public contact site, or a reclamation site, either:

(i)  the cumulative loading rate for each pollutant shall not exceed the cumulative pollutant loading rate for the pollutant in Table 2 of Section 374.013, or

(ii)  the concentration of each pollutant in the biosolids shall not exceed the concentration for the pollutant in Table 3 of Section 374.013.

(3)  If bulk biosolids is applied to a lawn or a home garden, the concentration of each pollutant in the biosolids shall not exceed the concentration for the pollutant in Table 3 of Section 374.013.

(4)  If biosolids are sold or given away in a bag or other container for application to the land, either:

(i)  the concentration of each pollutant in the biosolids shall not exceed the concentration for the pollutant in Table 3 of Section 374.013, or

(ii)  the product of the concentration of each pollutant in the biosolids and the annual whole sludge application rate for the biosolids shall not cause the annual pollutant loading rate for the pollutant in Table 4 of Section 374.013 to be exceeded.  The procedure used to determine the annual whole biosolids application rate is presented in Appendix A of this chapter.

(b)  Pollutant concentrations and loading rates - biosolids.

(1)  Ceiling concentrations

TABLE 1 OF SECTION 374.013--CEILING CONCENTRATIONS

Ceiling Concentration

Pollutant                     (milligrams per kilogram)*

Arsenic                                    75

Cadmium                                    85

Chromium                                 3000

Copper                                   4300

Lead                                      840

Mercury                                    57

Molybdenum                                 75

Nickel                                    420

Selenium                                  100

Zinc                                     7500

* Dry weight basis

(2)  Cumulative pollutant loading rates

TABLE 2 OF SECTION 374.013--CUMULATIVE POLLUTANT LOADING RATES

Cumulative Pollutant Loading Rate

Pollutant                     (kilograms per hectare)

Arsenic                                   41

Cadmium                                   39

Chromium                                3000

Copper                                  1500

Lead                                     300

Mercury                                   17

Molybdenum                                18

Nickel                                   420

Selenium                                 100

Zinc                                    2800

(3)  Pollutant concentrations

TABLE 3 OF SECTION 374.013--POLLUTANT CONCENTRATIONS

Pollutant                   (milligrams per kilogram)*

Arsenic                                  41

Cadmium                                  39

Chromium                               1200

Copper                                 1500

Lead                                    300

Mercury                                  17

Molybdenum                               18

Nickel                                  420

Selenium                                 36

Zinc                                   2800

* Dry weight basis

(4)  Annual pollutant loading rates

TABLE 4 OF SECTION 374.013--ANNUAL POLLUTANT LOADING RATES

Annual Pollutant Loading Rate

Pollutant          (kilograms per hectare per 365 day period)

Arsenic                              2.0

Cadmium                              1.9

Chromium                           150

Copper                              75

Lead                                15

Mercury                              0.85

Molybdenum                           0.90

Nickel                              21

Selenium                             5.0

Zinc                               140

(c)  Domestic septage.  The annual application rate for domestic septage applied to agricultural land, forest, or a reclamation site shall not exceed the annual application rate calculated using equation (1).

AAR =     N                   (1)

0.0026

Where:

AAR = Annual application rate in gallons per acre

per 365 day period.

N = Amount of nitrogen in pounds per acre per 365

day period needed by the crop or vegetation

grown on the land.

Sec. 374.014.  Management practices.  (a)  Bulk biosolids shall not be applied to the land if it is likely to adversely affect a threatened or endangered species listed under Section 4 of the Endangered Species Act or Section 68.002, Parks and Wildlife Code or the species' designated critical habitat.

(b)  Bulk biosolids shall not be applied to agricultural land, forest, a public contact site, or a reclamation site that is flooded, frozen, or snow-covered so that the bulk biosolids enter a wetland or other waters of the State, except as provided in a permit issued pursuant to Section 402 or 404 of the CWA.

(c)   Bulk biosolids shall not be applied to agricultural land, forest, or a reclamation site that is:

(1)  33 feet or less from waters of the State, so long as the buffer is vegetated, and if not, a buffer zone of 200 feet must be maintained;

(2)  50 feet or less from a public road or pedestrian right-of-way;

(3)  50 feet or less from a property boundary, unless an applicant obtains written consent from an adjoining property owner for a smaller or no buffer zone (which consent to place additional biosolids may be revoked upon receipt of written notice by the operator);

(4)  150 feet or less from a private water supply well;

(5)  500 feet or less from a public water supply well, intake, water supply storage unit or water supply treatment works;

(6)  300 feet or less from an occupied residence unless an applicant obtains written consent from the residence owner for a smaller or no buffer zone (which consent to place additional biosolids may be revoked upon receipt of written notice by the operator);

(7)  1,000 feet or less from existing schools, public institutions, or residential or business development property lines; and

(8)  10 feet or less from irrigation conveyance canals.

(d)  Bulk biosolids shall be applied to agricultural land, forest, a public contact site, or a reclamation site at a whole biosolids application rate that is equal to or less than the agronomic rate for the bulk biosolids, unless, in the case of a reclamation site, otherwise specified by the commission.

(e)  Either a label shall be affixed to the bag or other container in which biosolids that are sold or given away for application to the land, or an information sheet shall be provided to the person who receives biosolids sold or given away in an other container for application to the land.  The label or information sheet shall contain the following information:

(1)  The name and address of the person who prepared the biosolids that is sold or given away in a bag or other container for application to the land.

(2)  A statement that application of the biosolids to the land is prohibited except in accordance with the instructions on the label or information sheet.

(3)  The annual whole biosolids application rate for the biosolids that does not cause any of the annual pollutant loading rates in Table 4 of Section 374.013 to be exceeded.

(f)  Except as provided in Section 374.014(f)(6), storage of biosolids at a registration site shall not exceed 90 days in a 365 day period.  Storage is allowed only under the following conditions:

(1)  Written authorization must be obtained from the executive director prior to construction of the storage area;

(2)  The storage area shall be designed, constructed, and operated in a manner which protects public health and the environment;

(3)  The application shall outline measures to avoid public health nuisances such as odors;

(4)  Liquid sewage sludge must be stored in an enclosed vessel; and

(5)  If the storage area is not permanently covered:

(i)  The storage area must be operated and maintained to prevent runoff of surface water which has come into contact with biosolids and shall be designed to collect such runoff water;

(ii)  The storage area must be lined with natural or artificial liners.  A natural or artificial equivalent barrier of one foot of compacted clay with a permeability coefficient of 1 X 10-7 cm/sec or less shall be provided.  Various flexible synthetic membrane lining materials may be used in lieu of soil liners if prior written approval has been obtained from the executive director.

(6)  The appropriate commission regional office may approve up to an additional ninety days of storage for reasons associated with application area flooding, saturated soils, or frozen soils.

(g)  An operator may stage biosolids on-site, prior to land application for up to five days without being subject to the requirements of Subsection (f).

Sec. 374.015.  Operational standards - pathogens and vector attraction reduction.  (a)  Pathogens - biosolids (1) The Class A pathogen requirements in Section 374.032(a) or the Class B pathogen requirements and site restrictions in Section 371.032(b) shall be met when bulk biosolids is applied to agricultural land, forest, a public contact site, or a reclamation site.

(2)  The Class A pathogen requirements in 374.032(a) shall be met when bulk biosolids are applied to a lawn or a home garden.

(3)  The Class A pathogen requirements in Section 374.032(a) shall be met when biosolids is sold or given away in a bag or other container for application to the land.

(b)  Pathogens - domestic septage.  The requirements in either Section 374.032(c)(1) or Section 374.032(c)(2) shall be met when domestic septage is applied to agricultural land, forest, or a reclamation site.

(c)  Vector attraction reduction - biosolids (1) One of the vector attraction reduction requirements in Section 374.033(b)(1) through Section 374.033(b)(10) shall be met when bulk biosolids is applied to agricultural land, forest, a public contact site, or a reclamation site.

(2)  One of the vector attraction reduction requirements in Section 374.033(b)(1) through Section 374.033(b)(8) shall be met when bulk biosolids is applied to a lawn or a home garden.

(3)  One of the vector attraction reduction requirements in Section 374.033(b)(1) through Section 374.033(b)(8) shall be met when biosolids are sold or given away in a bag or other container for application to the land.

(d)  Vector attraction reduction - domestic septage.  The vector attraction reduction requirements in Section 374.033(b)(9), Section 374.033(b)(10), or Section 374.033(b)(12) shall be met when domestic septage is applied to agricultural land, forest, or a reclamation site.

Sec. 374.016.  Frequency of monitoring.  (a)  Biosolids.  (1) The frequency of monitoring for the pollutants listed in Table 1, Table 2, Table 3 and Table 4 of Section 374.013; the pathogen density requirements in Section 374.032(a) and in Section 374.032(b)(2) through Section 374.032(b)(4); and the vector attraction reduction requirements Section 374.033(b)(1) through Section 374.033(b)(8) shall be the frequency in Table 1 of Section 374.016.

TABLE 1 OF SECTION 374.016-FREQUENCY OF

MONITORING-LAND APPLICATION

Amount of biosolids*

(metric tons per 365 day period)       Frequency

Greater than zero but          once per year

less than 290

Equal to or greater than       once per quarter

290 but less than 1,500        (four times per year)

Equal to or greater than       once per 60 days

1,500 but less than 15,000     (six times per year)

Equal to or greater than       once per month

15,000                         (12 times per year)

*Either the amount of bulk biosolids applied to the land or the amount of biosolids received by a person who prepares biosolids that are sold or given away in a bag or other container for application to the land (dry weight basis).

(2)  After the biosolids have been monitored for two years at the frequency in Table 1 of Section 374.016, the commission may reduce the frequency of monitoring for pollutant concentrations and for the pathogen density requirements in Section 374.032(a)(5)(ii) and Section 374.032(a)(5)(iii), but in no case shall the frequency of monitoring be less than once per year when biosolids are applied to the land.

(b)  Domestic septage.  If either the pathogen requirements in Section 374.032(c)(2) or the vector attraction reduction requirements in Section 374.033(b)(12) are met when domestic septage is applied to agricultural land, forest, or a reclamation site, each container of domestic septage applied to the land shall be monitored for compliance with those requirements.

Sec. 374.017.  Recordkeeping.  (a)  Biosolids.  (1) The person who prepares the biosolids in Section 374.010(b)(1) or in Section 374.010(e) shall develop the following information and shall retain the information for five years:

(i)  The concentration of each pollutant listed in Table 3 of Section 374.013 in the biosolids.

(ii)  The following certification statement:  "I certify, under penalty of law, that the Class A pathogen requirements in Section 374.032(a) and the vector attraction reduction requirement in [insert one of the vector attraction reduction requirements in Section 374.033(b)(1) through Section 374.033(b)(8)] have been met.  This determination has been made under my direction and supervision in accordance with the system designed to ensure that qualified personnel properly gather and evaluate the information used to determine that the pathogen requirements and vector attraction reduction requirements have been met.  I am aware that there are significant penalties for false certification including the possibility of fine and imprisonment."

(iii)  A description of how the Class A pathogen requirements in Section 374.032(a) are met.

(iv)  A description of how one of the vector attraction reduction requirements in Section 374.033(b)(1) through Section 374.033(b)(8) is met.

(2)  The person who derives the material in Section 374.010(c)(1) or in Section 374.010(f) shall develop the following information and shall retain the information for five years:

(i)  The concentration of each pollutant listed in Table 3 of Section 374.013 in the material.

(ii)  The following certification statement:  "I certify, under penalty of law, that the Class A pathogen requirements in Section 374.032(a) and the vector attraction reduction requirement in [insert one of the vector attraction reduction requirements in Section 374.033(b)(1) through Section 374.033(b)(8)] have been met.  This determination has been made under my direction and supervision in accordance with the system designed to ensure that qualified personnel properly gather and evaluate the information used to determine that the pathogen requirements and the vector attraction reduction requirements have been met.  I am aware that there are significant penalties for false certification including the possibility of fine and imprisonment."

(iii)  A description of how the Class A pathogen requirements in Section 374.032(a) are met.

(iv)  A description of how one of the vector attraction reduction requirements in Section 374.033(b)(1) through Section 374.033(b)(8) is met.

(3)  If the pollutant concentrations in Section 374.013(b)(3), the Class A pathogen requirements in Section 374.032(a), and the vector attraction reduction requirements in either Section 374.033(b)(9) or Section 374.033(b)(10) are met when bulk biosolids are applied to agricultural land, forest, a public contact site, or a reclamation site:

(i)  The person who prepares the bulk biosolids shall develop the following information and shall retain the information for five years.

(A)  The concentration of each pollutant listed in Table 3 of Section 374.013 in the bulk biosolids.

(B)  The following certification statement:  "I certify, under penalty of law, that the pathogen requirements in Section 374.032(a) have been met.  This determination has been made under my direction and supervision in accordance with the system designed to ensure that qualified personnel properly gather and evaluate the information used to determine that the pathogen requirements have been met.  I am aware that there are significant penalties for false certification including the possibility of fine and imprisonment."

(C)  A description of how the pathogen requirements in Section 374.032(a) are met.

(ii)  The person who applies the bulk biosolids shall develop the following information and shall retain the information for five years.

(A)  The following certification statement:  "I certify, under penalty of law, that the management practices in Section 374.012 and the vector attraction reduction requirement in [insert either Section 374.033(b)(9) or Section 374.033(b)(10)] have been met.  This determination has been made under my direction and supervision in accordance with the system designed to ensure that qualified personnel properly gather and evaluate the information used to determine that the management practices and vector attraction reduction requirements have been met.  I am aware that there are significant penalties for false certification including fine and imprisonment."

(B)  A description of how the management practices in Section 374.012 are met for each site on which bulk biosolids are applied.

(C)  A description of how the vector attraction reduction requirements in either Section 374.033(b)(9) or Section 374.033(b)(10) are met for each site on which bulk biosolids are applied.

(4)  If the pollutant concentrations in Section 374.013(b)(3) and the Class B pathogen requirements in Section 374.032(b) are met when bulk biosolids are applied to agricultural land, forest, a public contact site, or a reclamation site:

(i)  The person who prepares the bulk biosolids shall develop the following information and shall retain the information for five years:

(A)  The concentration of each pollutant listed in Table 3 of Section 374.013 in the bulk biosolids.

(B)  The following certification statement:  "I certify under, penalty of law, that the Class B pathogen requirements in Section 374.032(b) and the vector attraction reduction requirement in [insert one of the vector attraction reduction requirements in Section 374.033(b)(1) through Section 374.033(b)(8) if one of those requirements is met] have been met.  This determination has been made under my direction and supervision in accordance with the system designed to ensure that qualified personnel properly gather and evaluate the information used to determine that the pathogen requirements [and vector attraction reduction requirements if applicable] have been met.  I am aware that there are significant penalties for false certification including the possibility of fine and imprisonment."

(C)  A description of how the Class B pathogen requirements in Section 374.032(b) are met.

(D)  When one of the vector attraction reduction requirements in Section 374.033(b)(1) through Section 374.033(b)(8) is met, a description of how the vector attraction reduction requirement is met.

(ii)  The person who applies the bulk biosolids shall develop the following information and shall retain the information for five years.

(A)  The following certification statement:  "I certify, under penalty of law, that the management practices in Section 374.012, the site restrictions in Section 374.032(b)(5), and the vector attraction reduction requirements in [insert either Section 374.033(b)(9) or Section 374.033(b)(10), if one of those requirements is met] have been met for each site on which bulk biosolids are applied.  This determination has been made under my direction and supervision in accordance with the system designed to ensure that qualified personnel properly gather and evaluate the information used to determine that the management practices and site restrictions [and the vector attraction reduction requirements if applicable] have been met.  I am aware that there are significant penalties for false certification including the possibility of fine and imprisonment."

(B)  A description of how the management practices in Section 374.012 are met for each site on which bulk biosolids are applied.

(C)  A description of how the site restrictions in Section 374.032(b)(5) are met for each site on which bulk biosolids are applied.

(D)  When the vector attraction reduction requirement in either Section 374.033(b)(9) or Section 374.033(b)(10) is met, a description of how the vector attraction reduction requirement is met.

(5)  If the requirements in Section 374.013(a)(2)(i) are met when bulk biosolids are applied to agricultural land, forest, a public contact site, or a reclamation site:

(i)  The person who prepares the bulk biosolids shall develop the following information and shall retain the information for five years.

(A)  The concentration of each pollutant listed in Table 1 of Section 374.013 in the bulk biosolids.

(B)  The following certification statement:  "I certify, under penalty of law, that the pathogen requirements in [insert either Section 374.032(a) or Section 374.032(b)] and the vector attraction reduction requirement in [insert one of the vector attraction reduction requirements in Section 374.033(b)(1) through Section 374.033(b)(8) if one of those requirements is met] have been met.  This determination has been made under my direction and supervision in accordance with the system designed to ensure that qualified personnel properly gather and evaluate the information used to determine that the pathogen requirements [and vector attraction reduction requirements] have been met.  I am aware that there are significant penalties for false certification including the possibility of fine and imprisonment."

(C)  A description of how the pathogen requirements in either section 374.032(a) or section 374.032(b) are met.

(D)  When one of the vector attraction requirements in Section 374.033(b)(1) through Section 374.033(b)(8) is met, a description of how the vector attraction requirement is met.

(ii)  The person who applies the bulk biosolids shall develop the following information, retain the information in Section 374.017(a)(5)(ii)(A) through Section 374.015(a)(5)(ii)(G) indefinitely, and retain the information in Section 374.017(a)(5)(ii)(H) through Section 374.017(a)(5)(ii)(M) for five years.

(A)  The location, by either street address or latitude and longitude, of each site on which bulk biosolids are applied.

(B)  The number of hectares in each site on which bulk biosolids are applied.

(C)  The date and time bulk biosolids are applied to each site.

(D)  The cumulative amount of each pollutant (i.e., kilograms) listed in Table 2 of Section 374.013 in the bulk biosolids applied to each site, including the amount in Section 374.013(e)(2)(iii).

(E)  The amount of (i.e., metric tons) applied to each site.

(F)  The following certification statement:  "I certify, under penalty of law, that the requirements to obtain information in Section 374.010(e)(2) have been met for each site on which bulk biosolids are applied.  This determination has been made under my direction and supervision in accordance with the system designed to ensure that qualified personnel properly gather and evaluate the information used to determine that the requirements to obtain information have been met.  I am aware that there are significant penalties for false certification including fine and imprisonment."

(G)  A description of how the requirements to obtain information in Section 374.010(e)(2) are met.

(H)  The following certification statement:  "I certify, under penalty of law, that the management practices in Section 374.012 have been met for each site on which bulk biosolids are applied.  This determination has been made under my direction and supervision in accordance with the system designed to ensure that qualified personnel properly gather and evaluate the information used to determine that the management practices have been met.  I am aware that there are significant penalties for false certification including fine and imprisonment."

(I)  A description of how the management practices in Section 374.012 are met for each site on which bulk biosolids are applied.

(J)  The following certification statement when the bulk biosolids meet the Class B pathogen requirements in Section 374.032(b):  "I certify, under penalty of law, that the site restrictions in Section 374.032(b)(5) have been met.  This determination has been made under my direction and supervision in accordance with the system designed to ensure that qualified personnel properly gather and evaluate the information used to determine that the site restrictions have been met.  I am aware that there are significant penalties for false certification including fine and imprisonment."

(K)  A description of how the site restrictions in Section 374.032(b)(5) are met for each site on which Class B bulk biosolids are applied.

(L)  The following certification statement when the vector attraction reduction requirement in either section 374.033(b)(9) or Section 374.033(b)(10) is met:  "I certify, under penalty of law, that the vector attraction reduction requirement in [insert either Section 374.033(b)(9) or Section 374.033(b)(10)] has been met.  This determination has been made under my direction and supervision in accordance with the system designed to ensure that qualified personnel properly gather and evaluate the information used to determine that the vector attraction reduction requirement has been met.  I am aware that there are significant penalties for false certification including the possibility of fine and imprisonment."

(M)  If the vector attraction reduction requirements in either section 374.033(b)(9) or Section 374.033(b)(10) are met, a description of how the requirements are met.

(6)  If the requirements in Section 374.013(a)(4)(ii) are met when biosolids are sold or given away in a bag or other container for application to the land, the person who prepares the biosolids that are sold or given away in a bag or other container shall develop the following information and shall retain the information for five years:

(i)  The annual whole biosolids application rate for the biosolids that does not cause the annual pollutant loading rates in Table 4 of Section 374.013 to be exceeded.

(ii)  The concentration of each pollutant listed in Table 4 of Section 374.013 in the biosolids.

(iii)  The following certification statement:  "I certify, under penalty of law, that the management practice in Section 374.012(e), the Class A pathogen requirement in Section 374.032(a), and the vector attraction reduction requirement in [insert one of the vector attraction reduction requirements in Section 374.033(b)(1) through Section 374.033(b)(8)] have been met.  This determination has been made under my direction and supervision in accordance with the system designed to ensure that qualified personnel properly gather and evaluate the information used to determine that the management practice, pathogen requirements, and vector attraction reduction requirements have been met.  I am aware that there are significant penalties for false certification including the possibility of fine and imprisonment."

(iii)  a description of how the Class A pathogen requirements in Section 374.032(a) are met.

(iv)  A description of how one of the vector attraction requirements in Section 374.033(b)(1) through Section 374.033(b)(8) is met.

(b)  Domestic septage.  When domestic septage is applied to agricultural land, forest, or a reclamation site, the person who applies the domestic septage shall develop the following information and shall retain the information for five years:

(1)  The location, by either street address or latitude and longitude, of each site on which domestic septage is applied.

(2)  The number of acres in each site on which domestic septage is applied.

(3)  The date and time domestic septage is applied to each site.

(4)  The nitrogen requirement for the crop or vegetation grown on each site during a 365 day period.

(5)  The rate, in gallons per acre per 365 day period, at which domestic septage is applied to each site.

(6)  The following certification statement:  "I certify, under penalty of law, that the pathogen requirements in [insert either Section 374.033(c)(1) or Section 374.033(c)(2)] and the vector attraction reduction requirements in [insert Section 374.033(b)(9), Section 374.033(b)(10), or Section 374.033(b)(12)] have been met.  This determination has been made under my direction and supervision in accordance with the system designed to ensure that qualified personnel properly gather and evaluate the information used to determine that the pathogen requirements and vector attraction reduction requirements have been met.  I am aware that there are significant penalties for false certification including the possibility of fine and imprisonment."

(7)  A description of how the pathogen requirements in either Section 374.033(c)(1) or Section 374.033(c)(2) are met.

(8)  A description of how the vector attraction reduction requirements in Section 374.033(b)(9), Section 374.033(b)(10), or Section 374.033(b)(12) are met.

Sec. 374.018.  Reporting.  (a)  Class I sludge management facilities, POTWs (as defined in 40 CFR 501.2) with a design flow rate equal to or greater than one million gallons per day, and POTWs that serve 10,000 people or more shall submit the following information to the commission:

(1)  The information in Section 374.017(a), except the information in Section 374.017(a)(3)(ii), Section 374.017(a)(4)(ii) and in Section 374.017(a)(5)(ii), for the appropriate requirements on September 1 of each year.

(2)  The information in Section 374.017(a)(5)(ii)(A) through Section 374.017(a)(5)(ii)(G) on September 1 of each year when 90 percent or more of any of the cumulative pollutant loading rates in Table 2 of Section 374.013 is reached at a site.

SUBCHAPTER C--PATHOGENS AND VECTOR ATTRACTION REDUCTION

Sec. 374.030.  SCOPE.  (a)  This subchapter contains the requirements for biosolids to be classified either Class A or Class B with respect to pathogens.

(b)  This subchapter contains the site restrictions for land on which a Class B biosolids are applied.

(c)  This subchapter contains the pathogen requirements for domestic septage applied to agricultural land, forest, or a reclamation site.

(d)  This subchapter contains alternative vector attraction reduction requirements for biosolids that are applied to the land or placed on a surface disposal site.

Sec. 374.031.  SPECIAL DEFINITIONS.  (a)  "Aerobic digestion" is the biochemical decomposition of organic matter in sewage sludge into carbon dioxide and water by microorganisms in the presence of air.

(b)  "Anaerobic digestion" is the biochemical decomposition of organic matter in sewage sludge into methane gas and carbon dioxide by microorganisms in the absence of air.

(c)  "Density of microorganisms" is the number of microorganisms per unit mass of total solids (dry weight) in the sewage sludge.

(d)  "Land with a high potential for public exposure" is land that the public uses frequently.  This includes, but is not limited to, a public contact site and a reclamation site located in a populated area (e.g., a construction site located in a city).

(e)  "Land with a low potential for public exposure" is land that the public uses infrequently.  This includes, but is not limited to, agricultural land, forest, and a reclamation site located in an unpopulated area (e.g., a strip mine located in a rural area).

(f)  "Pathogenic organisms" are disease-causing organisms.  These include, but are not limited to, certain bacteria, protozoa, viruses, and viable helminth ova.

(g)  "pH" means the logarithm of the reciprocal of the hydrogen ion concentration.

(h)  "Specific oxygen uptake rate (SOUR)" is the mass of oxygen consumed per unit time per unit mass of total solids (dry weight basis) in the sewage sludge.

(i)  "Total solids" are the materials in sewage sludge that remain as residue when the sewage sludge is dried at 103 to 105 degrees Celsius.

(j)  "Unstabilized solids" are organic materials in sewage sludge that have not been treated in either an aerobic or anaerobic treatment process.

(k)  "Vector attraction" is the characteristic of sewage sludge that attracts rodents, flies, mosquitos, or other organisms capable of transporting infectious agents.

(l)  "Volatile solids" is the amount of the total solids in sewage sludge lost when the sewage sludge is combusted at 550 degrees Celsius in the presence of excess air.

Sec. 374.032.  PATHOGENS.  (a)  Biosolids - Class A.  (1)  The requirement in Section 374.032(a)(2) and the requirements in either Section 374.032(a)(3), Section 374.032(a)(4), Section 374.032(a)(5), Section 374.032(a)(6), Section 374.032(a)(7), or Section 374.032(a)(8) shall be met for biosolids to be classified Class A with respect to pathogens.

(2)  The Class A pathogen requirements in Section 374.032(a)(3) through Section 374.032(a)(8) shall be met either prior to meeting or at the same time the vector attraction reduction requirements in Section 374.033, except the vector attraction reduction requirements in Section 374.033(b)(6) through Section 374.033(b)(8), are met.

(3)  Class A - Alternative 1.  (i)  Either the density of fecal coliform in the biosolids shall be less than 1000 Most Probable Number per gram of total solids (dry weight basis), or the density of Salmonella sp. bacteria in the biosolids shall be less than three Most Probable Number per four grams of total solids (dry weight basis) at the time the biosolids are used or disposed; at the time the biosolids are prepared for sale or give away in a bag or other container for application to the land; or at the time the biosolids or material derived from sewage sludge are prepared to meet the requirements in Section 374.010(b), Section 374.010(c), Section 374.010(e), or Section 374.010(f).

(ii)  The temperature of the biosolids that is used or disposed shall be maintained at a specific value for a period of time.

(A)  When the percent solids of the biosolids is seven percent or higher, the temperature of the biosolids shall be 50 degrees Celsius or higher; the time period shall be 20 minutes or longer; and the temperature and time period shall be determined using equation (3), except when small particles of biosolids are heated by either warmed gases or an immiscible liquid.

D =     131,700,000             (3)

0.1400t

10

Where,

D = time in days.

t = temperature in degrees Celsius.

(B)  When the percent solids of the biosolids is seven percent or higher and small particles of biosolids are heated by either warmed gases or an immiscible liquid, the temperature of the biosolids shall be 50 degrees Celsius or higher; the time period shall be 15 seconds or longer; and the temperature and time period shall be determined using equation (3).

(C)  When the percent solids of the biosolids is less than seven percent and the time period is at least 15 seconds, but less than 30 minutes, the temperature and time period shall be determined using equation (3).

(D)  When the percent solids of the biosolids is less than seven percent; the temperature of the biosolids is 50 degrees Celsius or higher; and the time period is 30 minutes or longer, the temperature and time period shall be determined using equation (4).

D =        50,070,000             (4)

0.1400t

10

Where,

D = time in days.

t = temperature in degrees Celsius.

(4)  Class A - Alternative 2.  (i)  Either the density of fecal coliform in the biosolids shall be less than 1000 Most Probable Number per gram of total solids (dry weight basis), or the density of Salmonella sp. bacteria in the biosolids shall be less than three Most Probable Number per four grams of total solids (dry weight basis) at the time the biosolids are used or disposed; at the time the sewage sludge is prepared for sale or give away in a bag or other container for application to the land; or at the time the biosolids or material derived from sewage sludge are prepared to meet the requirements in Section 374.010(b), Section 374.010(c), Section 374.010(e), or Section 374.010(f).

(ii) (A)  The pH of the biosolids that are used or disposed shall be raised to above 12 and shall remain above 12 for 72 hours.

(B)  The temperature of the biosolids shall be above 52 degrees Celsius for 12 hours or longer during the period that the pH of the biosolids is above 12.

(C)  At the end of the 72 hour period during which the pH of the biosolids is above 12, the biosolids shall be air dried to achieve a percent solids in the biosolids greater than 50 percent.

(5)  Class A - Alternative 3.  (i)  Either the density of fecal coliform in the biosolids shall be less than 1000 Most Probable Number per gram of total solids (dry weight basis), or the density of Salmonella sp. bacteria in sewage sludge shall be less than three Most Probable Number per four grams of total solids (dry weight basis) at the time the biosolids are used or disposed; at the time the sewage sludge is prepared for sale or give away in a bag or other container for application to the land; or at the time the biosolids or material derived from biosolids are prepared to meet the requirements in Section 374.010(b), Section 374.010(c), Section 374.010(e), or Section 374.010(f).

(ii) (A)  The biosolids shall be analyzed prior to pathogen treatment to determine whether the biosolids contain enteric viruses.

(B)  When the density of enteric viruses in the biosolids prior to pathogen treatment is less than one Plaque-forming Unit per four grams of total solids (dry weight basis), the biosolids are Class A with respect to enteric viruses until the next monitoring episode for the biosolids.

(C)  When the density of enteric viruses in the biosolids prior to pathogen treatment is equal to or greater than one Plaque-forming Unit per four grams of total solids (dry weight basis), the biosolids are Class A with respect to enteric viruses when the density of enteric viruses in the biosolids after pathogen treatment is less than one Plaque-forming Unit per four grams of total solids (dry weight basis) and when the values or ranges of values for the operating parameters for the pathogen treatment process that produces the biosolids that meets the enteric virus density requirement are documented.

(D)  After the enteric virus reduction in (ii)(C) of this subsection is demonstrated for the pathogen treatment process, the biosolids continue to be Class A with respect to enteric viruses when the values for the pathogen treatment process operating parameters are consistent with the values or ranges of values documented in (ii)(C) of this subsection.

(iii)(A)  The biosolids shall be analyzed prior to pathogen treatment to determine whether the biosolids contain viable helminth ova.

(B)  When the density of viable helminth ova in the biosolids prior to pathogen treatment is less than one per four grams of total solids (dry weight basis), the biosolids are Class A with respect to viable helminth ova until the next monitoring episode for the biosolids.

(C)  When the density of viable helminth ova in the biosolids prior to pathogen treatment is equal to or greater than one per four grams of total solids (dry weight basis), the biosolids are Class A with respect to viable helminth ova when the density of viable helminth ova in the biosolids after pathogen treatment is less than one per four grams of total solids (dry weight basis) and when the values or ranges of values for the operating parameters for the pathogen treatment process that produces the biosolids that meets the viable helminth ova density requirement are documented.

(D)  After the viable helminth ova reduction in (iii)(C) of this subsection is demonstrated for the pathogen treatment process, the biosolids continue to be Class A with respect to viable helminth ova when the values for the pathogen treatment process operating parameters are consistent with the values or ranges of values documented in (iii)(C) of this subsection.

(6)  Class A - Alternative 4.  (i)  Either the density of fecal coliform in the biosolids shall be less than 1000 Most Probable Number per gram of total solids (dry weight basis), or the density of Salmonella sp. bacteria in the biosolids shall be less than three Most Probable Number per four grams of total solids (dry weight basis) at the time the biosolids are used or disposed; at the time the biosolids are prepared for sale or give away in a bag or other container for application to the land; or at the time the biosolids or material derived from biosolids are prepared to meet the requirements in Section 374.010(b), Section 374.010(c), Section 374.010(e), or Section 374.010(f).

(ii)  The density of enteric viruses in the biosolids shall be less than one Plaque-forming Unit per four grams of total solids (dry weight basis) at the time the biosolids are used or disposed; at the time the biosolids are prepared for sale or give away in a bag or other container for application to the land; or at the time the biosolids or material derived from biosolids are prepared to meet the requirements in Section 374.010(b), Section 374.010(c), Section 374.010(e), or Section 374.010(f), unless otherwise specified by the commission.

(iii)  The density of viable helminth ova in the biosolids shall be less than one per four grams of total solids (dry weight basis) at the time the biosolids are used or disposed; at the time the biosolids are prepared for sale or give away in a bag or other container for application to the land; or at the time the biosolids or material derived from biosolids are prepared to meet the requirements in Section 374.010(b), Section 374.010(c), Section 374.010(e), or Section 374.010(f), unless otherwise specified by the commission.

(7)  Class A - Alternative 5.  (i)  Either the density of fecal coliform in the biosolids shall be less than 1000 Most Probable Number per gram of total solids (dry weight basis), or the density of Salmonella, sp. bacteria in the shall be less than three Most Probable Number per four grams of total solids (dry weight basis) at the time the biosolids are used or disposed; at the time the biosolids are prepared for sale or give away in a bag or other container for application to the land; or at the time the biosolids or material derived from biosolids are prepared to meet the requirements in Section 374.010(b), Section 374.010(c), Section 374.010(e), or Section 374.010(f).

(ii)  Biosolids that are used or disposed shall be treated in one of the Processes to Further Reduce Pathogens described in Appendix B.

(8)  Class A - Alternative 6.  (i)  Either the density of fecal coliform in the biosolids shall be less than 1000 Most Probable Number per gram of total solids (dry weight basis), or the density of Salmonella, sp. bacteria in the biosolids shall be less than three Most Probable Number per four grams of total solids (dry weight basis) at the time the biosolids are used or disposed; at the time the biosolids are prepared for sale or give away in a bag or other container for application to the land; or at the time the biosolids or material derived from biosolids are prepared to meet the requirements in Section 374.010(b), Section 374.010(c), Section 370.010(e), or Section 374.010(f).

(ii)  Biosolids that are used or disposed shall be treated in a process that is equivalent to a Process to Further Reduce Pathogens, as determined by the commission.

(b)  Biosolids - Class B.  (1)(i)  The requirements in either Section 374.032(b)(2), 374.032(b)(3), or 374.032(b)(4) shall be met for biosolids to be classified Class B with respect to pathogens.

(ii)  The site restrictions in 374.032(b)(5) shall be met when biosolids that meet the Class B pathogen requirements in 374.032(b)(2), 374.032(b)(3), or 374.032(b)(4) is applied to the land.

(2)  Class B - Alternative 1.  (i)  Seven samples of the biosolids shall be collected at the time the biosolids are used or disposed.

(ii)  The geometric mean of the density of fecal coliform in the samples collected in (2)(i) of this subsection shall be less than either 2,000,000 Most Probable Number per gram of total solids (dry weight basis) or 2,000,000 Colony Forming Units per gram of total solids (dry weight basis).

(3)  Class B - Alternative 2.  (i)  Biosolids that are used or disposed shall be treated in one of the Processes to Significantly Reduce Pathogens described in Appendix B.

(ii)  An independent registered professional engineer must certify to the generator of the biosolids that the wastewater treatment facility generating the biosolids are designed to achieve one of the Processes to Significantly Reduce Pathogens at the design loadings and flows routinely expected at the facility.

(iii)  If the biosolids are generated from a mixture of sources from more than one wastewater treatment facility, the resulting derived product shall meet one of the Processes to Significantly Reduce Pathogens, and shall meet the certification, operation, and recordkeeping requirements of this paragraph.

(iv)  All certification records and operational records describing how the requirements of this paragraph were met shall be kept by the generator for a minimum of three years and be available for inspection by commission staff for review.

(4)  Class B - Alternative 3.  (i)  Biosolids that are used or disposed shall be treated in a process that is equivalent to a Process to Significantly Reduce Pathogens, as determined by the U.S. EPA.

(ii)  If this alternative is utilized, the generator shall provide to the executive director proof that the U.S. EPA determined that the plant utilized a process that is equivalent to a Process to Significantly Reduce Pathogens.

(iii)  If the biosolids are generated from a mixture of sources from more than one wastewater treatment facility, the resulting derived product shall meet one of the Processes to Significantly Reduce Pathogens, and shall meet the certification, operation, and recordkeeping requirements of this paragraph.

(iv)  All certification records and operational records describing how the requirements of this paragraph were met shall be kept by the generator for a minimum of three years and be available for inspection by commission staff for review; and

(5)  Site Restrictions.  (i)  Food crops with harvested parts that touch the biosolids/soil mixture and are totally above the land surface shall not be harvested for 14 months after application of biosolids.

(ii)  Food crops with harvested parts below the surface of the land shall not be harvested for 20 months after application of biosolids when the biosolids remain on the land surface for four months or longer prior to incorporation into the soil.

(iii)  Food crops with harvested parts below the surface of the land shall not be harvested for 38 months after application of biosolids when the biosolids remain on the land surface for less than four months prior to incorporation into the soil.

(iv)  Food crops, feed crops, and fiber crops shall not be harvested for 30 days after application of biosolids.

(v)  Animals shall not be allowed to graze on the land for 30 days after application of biosolids.

(vi)  Turf grown on land where biosolids are applied shall not be harvested for one year after application of the biosolids when the harvested turf is placed on either land with a high potential for public exposure or a lawn, unless otherwise specified by the commission.

(vii)  Public access to land with high potential for public exposure shall be restricted for one year after application of biosolids.

(viii)  Public access to land with a low potential for public exposure shall be restricted for 30 days after application of biosolids.

(c)  Domestic septage.  (1) The site restrictions in Section 374.032(b)(5) shall be met when domestic septage is applied to agricultural land, forest, or a reclamation site; or

(2)  The pH of domestic septage applied to agricultural land, forest, or a reclamation site shall be raised to 12 or higher by alkali addition and, without the addition of more alkali, shall remain at 12 or higher for 30 minutes and the site restrictions in Section 374.032(b)(5)(i) through (b)(5)(iv) shall be met.

Sec. 374.033.  Vector attraction reduction.  (a)(1) One of the vector attraction reduction requirements in Section 374.033(b)(1) through Section 374.033(b)(10) shall be met when bulk biosolids are applied to agricultural land, forest, a public contact site, or a reclamation site.

(2)  One of the vector attraction reduction requirements in Section 374.033(b)(1) through Section 374.033(b)(8) shall be met when bulk biosolids are applied to a lawn or a home garden.

(3)  One of the vector attraction reduction requirements in Section 374.033(b)(1) through Section 374.033(b)(8) shall be met when biosolids are sold or given away in a bag or other container for application to the land.

(4)  One of the vector attraction reduction requirements in Section 374.033(b)(1) through Section 374.033(b)(11) shall be met when biosolids (other than domestic septage) is placed on an active sewage sludge unit.

(5)  One of the vector attraction reduction requirements in Section 374.033(b)(9), Section 374.033(b)(10), or Section 374.033(b)(12) shall be met when domestic septage is applied to agricultural land, forest, or a reclamation site and one of the vector attraction reduction requirements in Section 374.033(b)(9) through Section 374.033(b)(12) shall be met when domestic septage is placed on an active sewage sludge unit.

(b)(1)  The mass of volatile solids in the biosolids shall be reduced by a minimum of 38 percent.

(2)  When the 38 percent volatile solids reduction requirement in Section 374.033(b)(1) cannot be met for an anaerobically digested biosolids, vector attraction reduction can be demonstrated by digesting a portion of the previously digested biosolids anaerobically in the laboratory in a bench-scale unit for 40 additional days at a temperature between 30 and 37 degrees Celsius.  When at the end of the 40 days, the volatile solids in the biosolids at the beginning of that period is reduced by less than 17 percent, vector attraction reduction is achieved.

(3)  When the 38 percent volatile solids reduction requirement in Section 374.033(b)(1) cannot be met for an aerobically digested sewage sludge, vector attraction reduction can be demonstrated by digesting a portion of the previously digested biosolids that has a percent solids of two percent or less aerobically in the laboratory in a bench-scale unit for 30 additional days at 20 degrees Celsius.  When at the end of the 30 days, the volatile solids in the biosolids at the beginning of that period is reduced by less than 15 percent, vector attraction reduction is achieved.

(4)  The specific oxygen uptake rate (SOUR) for biosolids treated in an aerobic process shall be equal to or less than 1.5 milligrams of oxygen per hour per gram of total solids (dry weight basis) at a temperature of 20 degrees Celsius.

(5)  Biosolids shall be treated in an aerobic process for 14 days or longer.  During that time, the temperature of the sewage sludge shall be higher than 40 degrees Celsius and the average temperature of the sewage sludge shall be higher than 45 degrees Celsius.

(6)  The pH of biosolids shall be raised to 12 or higher by alkali addition and, without the addition of more alkali, shall remain at 12 or higher for two hours and then at 11.5 or higher for an additional 22 hours.

(7)  The percent solids of biosolids that does not contain unstabilized solids generated in a primary wastewater treatment process shall be equal to or greater than 75 percent based on the moisture content and total solids prior to mixing with other materials.

(8)  The percent solids of biosolids that contain unstabilized solids generated in a primary wastewater treatment process shall be equal to or greater than 90 percent based on the moisture content and total solids prior to mixing with other materials.

(9)(i)  Biosolids shall be injected below the surface of the land.

(ii)  No significant amount of the biosolids shall be present on the land surface within one hour after the biosolids are injected.

(iii)  When the biosolids that are injected below the surface of the land is Class A with respect to pathogens, the biosolids shall be injected below the land surface within eight hours after being discharged from the pathogen treatment process.

(10)(i)  Biosolids applied to the land surface or placed on a surface disposal site shall be incorporated into the soil within six hours after application to or placement on the land.

(ii)  When biosolids that are incorporated into the soil is Class A with respect to pathogens, the sewage sludge shall be applied to or placed on the land within eight hours after being discharged from the pathogen treatment process.

(11)  Biosolids placed on an active sewage sludge unit shall be covered with soil or other material at the end of each operating day.

(12)  The pH of domestic septage shall be raised to 12 or higher by alkali addition and, without the addition of more alkali, shall remain at 12 or higher for 30 minutes.

APPENDIX A - PROCEDURE TO DETERMINE THE ANNUAL WHOLE BIOSOLIDS APPLICATION RATE FOR BIOSOLIDS

Section 374.013(a)(4)(ii) requires that the product of the concentration for each pollutant listed in Table 4 of Section 374.013 in biosolids sold or given away in a bag or other container for application to the land and the annual whole biosolids application rate (AWBAR) for the biosolids not cause the annual pollutant loading rate for the pollutant in Table 4 of Section 374.013 to be exceeded.  This appendix contains the procedure used to determine the AWBAR for a biosolid that does not cause the annual pollutant loading rates in Table 4 of Section 374.013 to be exceeded.

The relationship between the annual pollutant loading rate (APLR) for a pollutant and the annual whole biosolids application rate (AWBAR) for a biosolids is shown in equation (1).

APLR = C x AWBAR X 0.001        (1)

Where:

APLR = Annual pollutant loading rate in kilograms per hectare per 365 day period.

C = Pollutant concentration in milligrams per kilogram of total solids (dry weight basis).

AWBAR = Annual whole biosolids application rate in metric tons per hectare per 365 day period (dry weight basis).

0.001 = A conversion factor.

To determine the AWBAR, equation (1) is rearranged into equation (2):

AWBAR =    APLR            (2)

C X 0.001

The procedure used to determine the AWBAR for a sewage sludge is presented below.

PROCEDURE:

1.  Analyze a sample of the biosolids to determine the concentration for each of the pollutants listed in Table 4 of Section 374.013 in the biosolids.

2.  Using the pollutant concentrations from Step 1 and the APLRs from Table 4 of Section 374.013, calculate an AWBAR for each pollutant using equation (2) above.

3.  The AWBAR for the biosolids is the lowest AWBAR calculated in Step 2.

APPENDIX B - PATHOGEN TREATMENT PROCESSES

A.  PROCESSES TO SIGNIFICANTLY REDUCE PATHOGENS (PSRP)

1.  Aerobic digestion.  Biosolids are agitated with air or oxygen to maintain aerobic conditions for a specific mean cell residence time at a specific temperature.  Values for the mean cell residence time and temperature shall be between 40 days at 20 degrees Celsius and 60 days at 15 degrees Celsius.

2.  Air drying.  Biosolids are dried on sand beds or on paved or unpaved basins.  The biosolids dry for a minimum of three months.  During two of the three months, the ambient average daily temperature is above zero degrees Celsius.

3.  Anaerobic digestion.  Biosolids are treated in the absence of air for a specific mean cell residence time at a specific temperature.  Values for the mean cell residence time and temperature shall be between 15 days at 35 to 55 degrees Celsius and 60 days at 20 degrees Celsius.

4.  Composting.  Using either the within-vessel, static aerated pile, or windrow composting methods, the temperature of the biosolids are raised to 40 degrees Celsius or higher and remain at 40 degrees Celsius or higher for five days.  For four hours during the five days, the temperature in the compost pile exceeds 55 degrees Celsius.

5.  Lime stabilization.  Sufficient lime is added to the biosolids to raise the pH of the sewage sludge to 12 after two hours of contact.

B.  PROCESSES TO FURTHER REDUCE PATHOGENS (PFRP)

1.  Composting.  Using either the within-vessel composting method or the static aerated pile composting method, the temperature of the biosolids is maintained at 55 degrees Celsius or higher for three days.  Using the windrow composting method, the temperature of the biosolids is maintained at 55 degrees or higher for 15 days or longer.  During the period when the compost is maintained at 55 degrees or higher, there shall be a minimum of five turnings of the windrow.

2.  Heat drying.  Biosolids are dried by direct or indirect contact with hot gases to reduce the moisture content of the biosolids to 10 percent or lower.  Either the temperature of the biosolids particles exceeds 80 degrees Celsius or the wet bulb temperature of the gas in contact with the biosolids as the biosolids leave the dryer exceeds 80 degrees Celsius.

3.  Heat treatment.  Liquid biosolids are heated to a temperature of 180 degrees Celsius or higher for 30 minutes.

4.  Thermophilic aerobic digestion.  Liquid biosolids are agitated with air or oxygen to maintain aerobic conditions and the mean cell residence time of the biosolids is 10 days at 55 to 60 degrees Celsius.

5.  Beta ray irradiation.  Biosolids are irradiated with beta rays from an accelerator at dosages of at least 1.0 megarad at room temperature (ca. 20 degrees Celsius).

6.  Gamma ray irradiation.  Biosolids are irradiated with gamma rays from certain isotopes, such as Cobalt 60 and Cesium 137, at room temperature (ca. 20 degrees Celsius).

7.  Pasteurization.  The temperature of the biosolids is maintained at 70 degrees Celsius or higher for 30 minutes or longer.

SECTION 4.  The importance of this legislation and the crowded condition of the calendars in both houses create an emergency and an imperative public necessity that the constitutional rule requiring bills to be read on three several days in each house be suspended, and this rule is hereby suspended, and that this Act take effect and be in force from and after its passage, and it is so enacted.