S.B. No. 1715

AN ACT

relating to the requirements for a smoke detector in multifamily and other residential units.

BE IT ENACTED BY THE LEGISLATURE OF THE STATE OF TEXAS:

SECTION 1.  This bill is enacted to honor the memory of Sephra Burks.

SECTION 2.  Section 92.254, Property Code, is amended by amending Subsection (a) and adding Subsection (a-1) to read as follows:

(a)  A smoke detector must be:

(1)  designed to detect both the visible and invisible products of combustion;

(2)  designed with an alarm audible to a person in the bedrooms it serves;

(3)  powered by battery, alternating current, or other power source as required by local ordinance;

(4)  tested and listed for use as a smoke detector by Underwriters Laboratories, Inc., Factory Mutual Research Corporation, or United States Testing Company, Inc.; and

(5)  in good working order.

(a-1)  If requested by a tenant as an accommodation for a person with a hearing-impairment disability or as required by law as a reasonable accommodation for a person with a hearing-impairment disability, a smoke detector must, in addition to complying with Subsection (a), be capable of alerting a hearing-impaired person in the bedrooms it serves.

SECTION 3.  This Act takes effect January 1, 2010.

______________________________    ______________________________
President of the Senate             Speaker of the Hous

I hereby certify that S.B. No. 1715 passed the Senate on April 17, 2009, by the following vote:  Yeas 28, Nays 0; and that the Senate concurred in House amendment on May 28, 2009, by the following vote:  Yeas 31, Nays 0.

______________________________
    Secretary of the Senat

I hereby certify that S.B. No. 1715 passed the House, with amendment, on May 20, 2009, by the following vote:  Yeas 114, Nays 22, one present not voting.

______________________________
    Chief Clerk of the Hous

Approved:


______________________________
             Date



______________________________
           Governo