By:  West	S.B. No. 1715

COMMITTEE SUBSTITUTE FOR S.B. No. 1715	By:  Estes

A BILL TO BE ENTITLED

AN ACT

relating to the requirements for a smoke detector in a multifamily residential unit.

BE IT ENACTED BY THE LEGISLATURE OF THE STATE OF TEXAS:

SECTION 1.  Section 92.254, Property Code, is amended by amending Subsection (a) and adding Subsection (a-1) to read as follows:

(a)  A smoke detector must be:

(1)  designed to detect both the visible and invisible products of combustion;

(2)  designed with an alarm audible to a person in the bedrooms it serves;

(3)  powered by battery, alternating current, or other power source as required by local ordinance;

(4)  tested and listed for use as a smoke detector by Underwriters Laboratories, Inc., Factory Mutual Research Corporation, or United States Testing Company, Inc.; and

(5)  in good working order.

(a-1)  If requested by a tenant as an accommodation for a person with a disability or as required by law as a reasonable accommodation for a person with a disability, a smoke detector must, in addition to complying with Subsection (a), be capable of alerting a hearing-impaired person in the bedrooms it serves.

SECTION 2.  This Act takes effect September 1, 2009.

* * * * *